Student 1:

Name: أسماء جمال عبد الحليم مبروك ناجي

ID: 15010473

Student2:

Name: خلود مسعد محمد الطايفى

ID: 18010614

Final Project – Biomedical Engineering
1.Ecg signal:

The signal has been sampled with a frequency of 500 Hz

set frequencies below 0.5 Hz to zero:

2.Notch filter at 50HZ

3. Increasing the signal-to-noise ratio:

A higher bandwidth will give more noise in the signals,

and limiting the bandwidth can obscure details in the ECG.

a compromise on the cutt f freq we choose 5.99(50) almost 6 HZ filter

to not details in the ecg without give more noise.

4. Finding the heart rate using autocorrelation:
The processed signal has less heart rate than the unprocessed signal.

HeartRateECG =  313.9535

HeartRateECG2 =   101.4275

HeartRateECG3 =   62.9371

- Ecg:

- Ecg2:

- Ecg3:

The autocorrelation heart rate code:

%% Asmaa's part

%-------- 4. Finding the heart rate using autocorrelation -----------------

AdultRate=90;

%ecg3

figure (6)

ecg3norm = ecg3 - mean(ecg3);

[autocor,lags] = xcorr(ecg3norm,ecg3norm);

autocor=autocor(round(length(autocor)/2):end);

lags=lags(round(length(lags)/2):end);

[peakShort,locationShort] = findpeaks(autocor);

short = mean(diff(locationShort))/fs;

[RRpeak,locationR] = findpeaks(autocor,'MinPeakDistance',ceil(short*fs),'MinPeakheight',6);

RRinterval = mean(diff(locationR))/(0.6*fs);

HeartRateECG3=AdultRate/RRinterval

plot(lags/fs,autocor);

hold on

plot(lags(locationShort)/fs,peakShort,'or', lags(locationR)/fs,RRpeak,'vk');

title('ECG3 autocorrelation')

%ecg2

figure (7)

ecg2norm = ecg2 - mean(ecg2);

[autocor,lags] = xcorr(ecg2norm,ecg2norm);

autocor=autocor(round(length(autocor)/2):end);

lags=lags(round(length(lags)/2):end);

[peakShort,locationShort] = findpeaks(autocor);

short = mean(diff(locationShort))/fs;

[RRpeak,locationR] = findpeaks(autocor,'MinPeakDistance',ceil(short*fs),'MinPeakheight',6);

RRinterval = mean(diff(locationR))/(0.6*fs);

HeartRateECG2=AdultRate/RRinterval

plot(lags/fs,autocor);

hold on

plot(lags(locationShort)/fs,peakShort,'or', lags(locationR)/fs,RRpeak,'vk');

title('ECG2 autocorrelation')

%ecg

figure (8)

ecgnorm = ecg - mean(ecg);

[autocor,lags] = xcorr(ecgnorm,ecgnorm);

autocor=autocor(round(length(autocor)/2):end);

lags=lags(round(length(lags)/2):end);

[peakShort,locationShort] = findpeaks(autocor);

short = mean(diff(locationShort))/fs;

[RRpeak,locationR] = findpeaks(autocor,'MinPeakDistance',ceil(short*fs),'MinPeakheight',6);

RRinterval = mean(diff(locationR))/(0.6*fs);

HeartRateECG=AdultRate/RRinterval

plot(lags/fs,autocor);

hold on

plot(lags(locationShort)/fs,peakShort,'or', lags(locationR)/fs,RRpeak,'vk');

title('ECG autocorrelation')

5. Finding the QRS complex:

- Ecg:

- Ecg2:

- Ecg3:

The QRS code:

%% conintuing of Asmaa's part

%-------- 5. Finding the QRS complex: -----------------

figure ;

pan_tompkin(ecg, fs,1);

figure;

pan_tompkin(ecg2, fs,1);

figure;

pan_tompkin(ecg3, fs,1);

%{

%%%%%%%%%%%%%%%%%%%%%%%%%%%%%%% the detailed solution with steps %%%%%%%%%%%

if ~isvector(ecg)

error('ecg must be a row or column vector');

end

gr = 1;   % on default the function always plots

ecg = ecg(:); % vectorize

% ======================= Initialize =============================== %

delay = 0;

skip = 0;                                                                  % becomes one when a T wave is detected

m_selected_RR = 0;

mean_RR = 0;

ser_back = 0;

ax = zeros(1,6);

% ============ Noise cancelation(Filtering)( 5-15 Hz) =============== %%

if fs == 200

% ------------------ remove the mean of Signal -----------------------%

ecg = ecg - mean(ecg);

% ==== Low Pass Filter  H(z) = ((1 - z^(-6))^2)/(1 - z^(-1))^2 ==== %%

Wn = 12*2/fs;

N = 3;                                                                  % order of 3 less processing

[a,b] = butter(N,Wn,'low');                                             % bandpass filtering

ecg_l = filtfilt(a,b,ecg);

ecg_l = ecg_l/ max(abs(ecg_l));

% ======================= start figure ============================= %%

figure;

ax(1) = subplot(321);plot(ecg);axis tight;title('Raw signal');

ax(2)=subplot(322);plot(ecg_l);axis tight;title('Low pass filtered');

% ==== High Pass filter H(z) = (-1+32z^(-16)+z^(-32))/(1+z^(-1)) ==== %%

Wn = 5*2/fs;

N = 3;                                                                  % order of 3 less processing

[a,b] = butter(N,Wn,'high');                                            % bandpass filtering

ecg_h = filtfilt(a,b,ecg_l);

ecg_h = ecg_h/ max(abs(ecg_h));

ax(3)=subplot(323);plot(ecg_h);axis tight;title('High Pass Filtered');

else

% bandpass filter for Noise cancelation of other sampling frequencies(Filtering)

f1=5;                                                                      % cuttoff low frequency to get rid of baseline wander

f2=15;                                                                     % cuttoff frequency to discard high frequency noise

Wn=[f1 f2]*2/fs;                                                           % cutt off based on fs

N = 3;                                                                     % order of 3 less processing

[a,b] = butter(N,Wn);                                                      % bandpass filtering

ecg_h = filtfilt(a,b,ecg);

ecg_h = ecg_h/ max( abs(ecg_h));

ax(1) = subplot(3,2,[1 2]);plot(ecg);axis tight;title('Raw Signal');

ax(3)=subplot(323);plot(ecg_h);axis tight;title('Band Pass Filtered');

end

% ==================== derivative filter ========================== %%

% ------ H(z) = (1/8T)(-z^(-2) - 2z^(-1) + 2z + z^(2)) --------- %

if fs ~= 200

int_c = (5-1)/(fs*1/40);

b = interp1(1:5,[1 2 0 -2 -1].*(1/8)*fs,1:int_c:5);

else

b = [1 2 0 -2 -1].*(1/8)*fs;

end

ecg_d = filtfilt(b,1,ecg_h);

ecg_d = ecg_d/max(ecg_d);

ax(4)=subplot(324);plot(ecg_d);

axis tight;

title('Filtered with the derivative filter');

% ========== Squaring nonlinearly enhance the dominant peaks ========== %%

ecg_s = ecg_d.^2;

ax(5)=subplot(325);

plot(ecg_s);

axis tight;

title('Squared');

%============  Moving average ================== %%

%-------Y(nt) = (1/N)[x(nT-(N - 1)T)+ x(nT - (N - 2)T)+...+x(nT)]---------%

ecg_m = conv(ecg_s ,ones(1 ,round(0.150*fs))/round(0.150*fs));

delay = delay + round(0.150*fs)/2;

ax(6)=subplot(326);plot(ecg_m);

axis tight;

title('Averaged with 30 samples length,Black noise,Green Adaptive Threshold,RED Sig Level,Red circles QRS adaptive threshold');

axis tight;

%}

6. ECG heart diseases Survey With Figures:

# Brugada Syndrome

Brugada Syndrome is a rare inherited cardiac arrhythmia syndrome that is characteristed by a 'coved-shaped' atypical right bundle branchpattern on a 12-lead ECG (Type-1 Brugada pattern ECG) and is associated with ventricular arrhythmias and sudden cardiac death.  Brugada Syndrome is reported to be responsible for 4% of all sudden deaths and 20% of sudden deaths in those without structural heart disease.

# Ventricular Tachycardia in Structural Heart Disease